## Slide 1: Demand Side Management Potential Study Measure List Overview
Council Docket No. UD-17-03
4 April 2018

## Slide 2: Measure List Topics
Measure variants and applicability
Potential study measures vs. TRM measures
Sector-by-sector review
TVR and DR measures

## Slide 3: Measure Variants and Applicability
Similar measures installed in different situations, with different drivers
  New construction/renovation
  End of life/replace on failure or “burnout”
  Early retirement/retrofit
Both savings and costs vary
Market | Baseline | Efficient | Equip. Cost | Labor Cost
NC/ROB | Code/standard1 | Higher | ∆ | 0
Retrofit | Existing2 | Code/standard | Full3 | Full
1Or standard practice 2Baseline shift 3Deferred replacement credit |  |  |  | 

## Slide 4: Study measures vs. TRM measures
Different purposes
  TRM: ensure accurate counting of actual, installed measures
  Potential study: ensure accurate estimate of available potential at moderate level of detail, using averages
Example: residential heat pump

## Slide 5: Sector-by-sector review – Residential
Lighting market changes
  Reviewing codes, handling market shifts
Emerging technologies
  Lighting controls
  EMS
  Window attachments
Other end-uses
  Outdoor lighting
  Heating, ventilation, and air conditioning (HVAC)
  Domestic hot water (DHW)
  Appliances and consumer products
  Building shell (“envelope”)
Notes: Likely to be steep declines in residential lighting savings, potentially zero by 2022 or so
Need some more info about current market in NOLA.

## Slide 6: Sector-by-sector review – C&I
Lighting market changes
  Reviewing codes, handling market shifts
Emerging technologies
  Lighting controls
  SEM
  HVAC controls
Other end-uses
  Outdoor lighting
  Heating, ventilation, and air conditioning (HVAC)
  Domestic hot water (DHW)
  Refrigeration and commercial kitchen
  Appliances and consumer products
  Compressed air
  Data centers
  Building shell (“envelope”)

## Slide 7: TVR and DR measures
Time-varying rates
  Time of use (TOU)
  Real-time pricing (RTP)
  Critical peak pricing (CPP)
  Peak-time rebates (PTR)
Demand response
  Bring-your-own-thermostat (BYOT) (Res)
  Home energy displays (Res)
  Direct or AMI-enabled HVAC/DHW control (both)
  Conservation voltage reduction (both)
  Thermal storage (C&I)
  Controls/building energy management systems (BEMS) (C&I)
  “Business DR”