## Applicability
PM# | Meas | Measure Name | Primary Fuel End Use | Single Family | Small Office | Large Office | Small Retail | Large Retail | Warehouse | Education | Food Sales | Health | Lodging | Restaurant | Industrial | Other | Low Income | 0 | 0 | 0 | 0
1 | 1 | ESTAR Room AC | E, Cooling | 0% | 20% | 2% | 20% | 2% | 0% | 15% | 15% | 8% | 50% | 20% | 2% | 14% | 0% | 0% | 0% | 0% | 0%
2 | 2 | Exterior Canopy/Soffit LED | E, Exterior Lighting | 0% | 5% | 4% | 5% | 4% | 1% | 4% | 2% | 0.7965% | 4% | 3% | 0% | 2.981% | 0% | 0% | 0% | 0% | 0%
3 | 3 | Exterior Wall Pack LED | E, Exterior Lighting | 0% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 0% | 68.18% | 0% | 0% | 0% | 0% | 0%
4 | 4 | Improved Ext Lgt Design | E, Exterior Lighting | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 90.91% | 0% | 0% | 0% | 0% | 0%
5 | 5 | Heat Pump Water Heater | E, Water Heating | 0% | 5% | 5% | 5% | 5% | 5% | 5% | 2% | 1% | 2% | 2% | 0% | 3.364% | 0% | 0% | 0% | 0% | 0%
6 | 6 | High Volume Low Speed Fans | E, Ventilation | 0% | 4% | 4% | 0% | 0% | 0% | 12% | 0% | 11% | 60% | 0% | 0% | 8.273% | 0% | 0% | 0% | 0% | 0%
7 | 7 | Mini Split Ductless HP-Cool | E, Cooling | 0% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 0% | 0% | 0% | 0% | 0%
8 | 8 | Mini Split Ductless HP-Heat | E, Space Heating | 0% | 20% | 20% | 60% | 30% | 0% | 18% | 50% | 50% | 50% | 50% | 50% | 100% | 0% | 0% | 0% | 0% | 0%
9 | 9 | Optimized unitary HVAC distribution/control system | E, Cooling | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0%
10 | 10 | Optimized chiller distribution/control system | E, Cooling | 0% | 97% | 28% | 98% | 55% | 40% | 56% | 90% | 30% | 33% | 98.26% | 28% | 59.39% | 0% | 0% | 0% | 0% | 0%
11 | 11 | Int Ltg Controls | E, Indoor Lighting | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0%
12 | 12 | Exit Sign Retrofit | E, Indoor Lighting | 0% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 0% | 0% | 0% | 0% | 0%
13 | 13 | High Bay LED | E, Indoor Lighting | 0% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 0% | 0% | 0% | 0% | 0%
14 | 14 | Incand. Over 100W Ret, Fixt. | E, Indoor Lighting | 0% | 5% | 9% | 8% | 15% | 50% | 10% | 20% | 10% | 5% | 15% | 5% | 13.82% | 0% | 0% | 0% | 0% | 0%
15 | 15 | Incand. Over 100W Ret, Lamp | E, Indoor Lighting | 0% | 3% | 3% | 10% | 5% | 3% | 3% | 3% | 3% | 25% | 20% | 3% | 7.364% | 0% | 0% | 0% | 0% | 0%
16 | 16 | Incand. Up to 100W Ret, Fixt. | E, Indoor Lighting | 0% | 3% | 3% | 10% | 5% | 3% | 3% | 3% | 3% | 25% | 20% | 3% | 7.364% | 0% | 0% | 0% | 0% | 0%
17 | 17 | Incand. Up to 100W Ret, Lamp | E, Indoor Lighting | 0% | 13% | 13% | 23% | 15% | 5% | 13% | 5% | 13% | 16% | 13% | 13% | 12.91% | 0% | 0% | 0% | 0% | 0%
18 | 18 | LED Troffers | E, Indoor Lighting | 0% | 67% | 67% | 49% | 57% | 40% | 67% | 57% | 69% | 45% | 40% | 67% | 56.82% | 0% | 0% | 0% | 0% | 0%
19 | 19 | Com LED Tube Replacement Lamps | E, Indoor Lighting | 0% | 67% | 67% | 49% | 57% | 40% | 67% | 57% | 69% | 45% | 40% | 67% | 56.82% | 0% | 0% | 0% | 0% | 0%
20 | 20 | Refrigerated Case LED | E, Indoor Lighting | 0% | 2% | 1% | 5% | 1% | 0% | 1% | 10% | 1% | 2% | 5% | 2% | 2.727% | 0% | 0% | 0% | 0% | 0%
21 | 21 | Stairwell Occupancy Sensors | E, Indoor Lighting | 0% | 2% | 1% | 5% | 1% | 0% | 1% | 10% | 1% | 2% | 5% | 2% | 2.727% | 0% | 0% | 0% | 0% | 0%
22 | 22 | LED Street Lighting | E, Exterior Lighting | 0% | 2% | 6% | 1% | 2% | 2% | 3% | 1% | 1% | 7% | 1% | 0% | 2.364% | 0% | 0% | 0% | 0% | 0%
23 | 23 | Pre-Rinse Sprayers | E, Water Heating | 0% | 0% | 0% | 0% | 0% | 0% | 30% | 40% | 40% | 30% | 66% | 30% | 30% | 0% | 0% | 0% | 0% | 0%
24 | 24 | Chiller Tune-Up | E, Cooling | 0% | 0% | 70% | 0% | 45% | 60% | 32% | 10% | 60% | 12% | 1.741% | 70% | 32.79% | 0% | 0% | 0% | 0% | 0%
25 | 25 | VSD, Chilled Water Pump | E, Other | 0% | 73% | 18% | 65% | 39% | 35% | 41% | 57% | 7% | 34% | 82% | 0% | 41% | 0% | 0% | 0% | 0% | 0%
26 | 26 | VSD, Heating Hot Water Pump | E, Other | 0% | 1% | 10% | 1% | 7% | 5% | 1% | 3% | 5% | 4% | 5% | 0% | 3.818% | 0% | 0% | 0% | 0% | 0%
27 | 27 | VSD, Condenser Water Pump | E, Other | 0% | 5% | 10% | 5% | 7% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 5.182% | 0% | 0% | 0% | 0% | 0%
28 | 28 | VSD, HVAC Fan | E, Ventilation | 0% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 0% | 0% | 0% | 0% | 0%
29 | 29 | VSD, Cooling Tower Fan | E, Ventilation | 0% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 0% | 0% | 0% | 0% | 0%
30 | 30 | Demand Control Ventilation-Cool | E, Cooling | 0% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 0% | 0% | 0% | 0% | 0%
31 | 31 | Demand Control Ventilation-Heat | E, Space Heating | 0% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 0% | 0% | 0% | 0% | 0%
32 | 32 | Demand Control Ventilation-Vent | E, Ventilation | 0% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 0% | 0% | 40.91% | 0% | 0% | 0% | 0% | 0%
33 | 33 | Screw-Based LED | E, Indoor Lighting | 0% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 0% | 0% | 0% | 0% | 0%
34 | 34 | Retrofit duct sealing fan energy | E, Ventilation | 0% | 40% | 0% | 40% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 7.273% | 0% | 0% | 0% | 0% | 0%
35 | 35 | Retrofit duct sealing cool | E, Cooling | 0% | 72.2% | 37.34% | 79.61% | 77.27% | 28.05% | 45.05% | 60.35% | 37.21% | 52.07% | 57.8% | 37.34% | 53.12% | 0% | 0% | 0% | 0% | 0%
36 | 36 | Retrofit duct sealing HS fan | E, Ventilation | 0% | 40% | 0% | 40% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 7.273% | 0% | 0% | 0% | 0% | 0%
37 | 37 | Retrofit duct sealing HS cool | E, Cooling | 0% | 12.74% | 6.589% | 14.05% | 13.64% | 4.95% | 7.95% | 10.65% | 6.567% | 9.19% | 10.2% | 6.589% | 9.374% | 0% | 0% | 0% | 0% | 0%
38 | 38 | Ground Source HP (Heating) | E, Space Heating | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0%
39 | 39 | Ground Source HP (Cooling) | E, Cooling | 0% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 0% | 0% | 0% | 0% | 0%
40 | 40 | HE Clothes Washer, elec DHW | E, Water Heating | 0% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 0% | 9.091% | 0% | 0% | 0% | 0% | 0%
41 | 41 | Ozone Laundry System | E, Water Heating | 0% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 0% | 9.091% | 0% | 0% | 0% | 0% | 0%
42 | 42 | Office Equipment Controls | E, Plug Load | 0% | 90% | 90% | 50% | 50% | 40% | 90% | 60% | 90% | 40% | 80% | 90% | 70% | 0% | 0% | 0% | 0% | 0%
43 | 43 | Window Film | E, Cooling | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0%
44 | 44 | Cool Roof | E, Cooling | 0% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 0% | 0% | 0% | 0% | 0%
45 | 45 | LED Ped Light (Sign Lighting) | E, Exterior Lighting | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
46 | 46 | HE Kitchen Equipment | E, Cooking | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0%
47 | 47 | HP Window Glaze (Cooling) | E, Cooling | 0% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 0% | 0% | 0% | 0% | 0%
48 | 48 | HP Window Glaze (Heating) | E, Space Heating | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0%
49 | 49 | Compressed Air | E, Industrial Process | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 9.091% | 0% | 0% | 0% | 0% | 0%
50 | 50 | Industrial Process | E, Industrial Process | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 9.091% | 0% | 0% | 0% | 0% | 0%
51 | 51 | High Efficiency HP (Heating) | E, Space Heating | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0%
52 | 52 | High Efficiency HP (Cooling) | E, Cooling | 0% | 76.8% | 18.4% | 82.72% | 51.3% | 38% | 49.28% | 73.95% | 7.65% | 33.75% | 85.36% | 40% | 50.66% | 0% | 0% | 0% | 0% | 0%
53 | 53 | High Efficiency AC | E, Cooling | 0% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 0% | 0% | 0% | 0% | 0%
54 | 54 | HP Tune Up (Heating) | E, Space Heating | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0%
55 | 55 | HP Tune Up (Cooling) | E, Cooling | 0% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 0% | 0% | 0% | 0% | 0%
56 | 56 | AC Tune Up | E, Cooling | 0% | 4.052% | 13.34% | 3.19% | 23.89% | 68.82% | 10.18% | 6.675% | 2.524% | 64.25% | 4.177% | 13.34% | 19.49% | 0% | 0% | 0% | 0% | 0%
57 | 57 | Cooler Night Cover | E, Refrigeration | 0% | 0% | 80% | 60% | 80% | 20% | 70% | 100% | 80% | 15% | 100% | 50% | 59.55% | 0% | 0% | 0% | 0% | 0%
58 | 58 | Commercial Faucet Aerator (Elec WH) | E, Water Heating | 0% | 90% | 70% | 90% | 70% | 97% | 70% | 60% | 60% | 66% | 33% | 70% | 70% | 0% | 0% | 0% | 0% | 0%
59 | 59 | High Efficiency Chiller | E, Cooling | 0% | 0% | 70% | 0% | 45% | 60% | 32% | 10% | 60% | 12% | 12% | 12% | 28.45% | 0% | 0% | 0% | 0% | 0%
60 | 60 | ECM Blower Motors | E, Ventilation | 0% | 1% | 10% | 1% | 7% | 5% | 1% | 3% | 5% | 4% | 5% | 0% | 3.818% | 0% | 0% | 0% | 0% | 0%
61 | 61 | Conservation Voltage Reduction | E, ElecTotal | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0%
62 | 62 | Building Management System - Elec Heat | E, ElecTotal | 0% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 0% | 0% | 0% | 0% | 0%
63 | 63 | Control System for Hopitality | E, Cooling | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 9.091% | 0% | 0% | 0% | 0% | 0%
64 | 64 | Retrocommissioning/Calibrate Sensors - Electric Heat | E, ElecTotal | 0% | 55% | 55% | 55% | 55% | 55% | 55% | 55% | 55% | 55% | 55% | 55% | 55% | 0% | 0% | 0% | 0% | 0%
65 | 65 | Integrated bldg design -Elec | E, ElecTotal | 0% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 0% | 0% | 0% | 0% | 0%
66 | 66 | Replace Cooler and Freezer Door Gaskets | E, Refrigeration | 0% | 0% | 80% | 60% | 80% | 20% | 70% | 100% | 80% | 15% | 100% | 50% | 59.55% | 0% | 0% | 0% | 0% | 0%
67 | 67 | Reach-in Storage Refrigerator | E, Refrigeration | 0% | 0% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 0% | 0% | 0% | 0% | 0%
68 | 68 | HE Small Walk-In | E, Refrigeration | 0% | 0% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 0% | 0% | 0% | 0% | 0%
69 | 69 | Refrigeration Retrofit | E, Refrigeration | 0% | 0% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 0% | 0% | 0% | 0% | 0%
70 | 70 | Strip Curtains | E, Refrigeration | 0% | 0% | 80% | 60% | 80% | 20% | 70% | 100% | 80% | 15% | 100% | 50% | 59.55% | 0% | 0% | 0% | 0% | 0%
71 | 71 | Advanced RTU Control - Elec Heat | E, ElecTotal | 0% | 60% | 10% | 60% | 35% | 30% | 30% | 40% | 59% | 49% | 49% | 40% | 42% | 0% | 0% | 0% | 0% | 0%
72 | 72 | Advanced RTU Control - Gas Heat | E, ElecTotal | 0% | 20% | 2% | 20% | 10% | 8% | 8% | 17% | 17% | 9% | 17% | 10% | 12.55% | 0% | 0% | 0% | 0% | 0%
73 | 73 | Network Connected LEDs | E, Indoor Lighting | 0% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 0% | 72.73% | 0% | 0% | 0% | 0% | 0%
74 | 74 | High Efficiency Chiller vs DX System | E, Cooling | 0% | 60% | 10% | 60% | 35% | 30% | 30% | 47% | 20% | 30% | 67% | 10% | 36.27% | 0% | 0% | 0% | 0% | 0%
75 | 75 | Replace Pneumatic contols with DDC - Elec Heat | E, ElecTotal | 0% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 0% | 0% | 0% | 0% | 0%
76 | 76 | Replace Pneumatic contols with DDC - Gas Heat | E, ElecTotal | 0% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 0% | 9.091% | 0% | 0% | 0% | 0% | 0%
77 | 77 | Central AC | E, Cooling | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 50% | 0% | 0% | 0% | 0%
78 | 78 | QI Central AC | E, Cooling | 30% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 30% | 0% | 0% | 0% | 0%
79 | 79 | ASHP (Cooling) | E, Cooling | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 50% | 0% | 0% | 0% | 0%
80 | 80 | ASHP (Heating) | E, Space Heating | 55% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 55% | 0% | 0% | 0% | 0%
81 | 81 | QI ASHP (Cooling) | E, Cooling | 40% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 40% | 0% | 0% | 0% | 0%
82 | 82 | QI ASHP (Heating) | E, Space Heating | 40% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 40% | 0% | 0% | 0% | 0%
83 | 83 | CAC Tune-Up | E, Cooling | 85% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 85% | 0% | 0% | 0% | 0%
84 | 84 | ASHP Tune-Up (Cooling) | E, Cooling | 85% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 85% | 0% | 0% | 0% | 0%
85 | 85 | ASHP Tune-Up (Heating) | E, Space Heating | 65% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 65% | 0% | 0% | 0% | 0%
86 | 86 | ES Room AC | E, Cooling | 15% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 15% | 0% | 0% | 0% | 0%
87 | 87 | GSHP (Cooling) | E, Cooling | 85% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 85% | 0% | 0% | 0% | 0%
88 | 88 | GSHP (Heating) | E, Space Heating | 85% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 85% | 0% | 0% | 0% | 0%
89 | 89 | DMSAC | E, Cooling | 85% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 85% | 0% | 0% | 0% | 0%
90 | 90 | DMSHP (Cooling) | E, Cooling | 35% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 35% | 0% | 0% | 0% | 0%
91 | 91 | DMSHP (Heating) | E, Space Heating | 65% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 65% | 0% | 0% | 0% | 0%
92 | 92 | Duct Sealing, E (Cooling) | E, Cooling | 33% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 33% | 0% | 0% | 0% | 0%
93 | 93 | Duct Sealing, E (Heating) | E, Space Heating | 66% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 66% | 0% | 0% | 0% | 0%
94 | 94 | Duct Sealing, G | E, Cooling | 33% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 33% | 0% | 0% | 0% | 0%
95 | 95 | Smart Tstat, E (Cooling) | E, Cooling | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 50% | 0% | 0% | 0% | 0%
96 | 96 | Smart Tstat, E (Heating) | E, Space Heating | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0%
97 | 97 | Smart Tstat, G | E, Cooling | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 50% | 0% | 0% | 0% | 0%
98 | 98 | Learning Tstat, E (Cooling) | E, Cooling | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 50% | 0% | 0% | 0% | 0%
99 | 99 | Learning Tstat, E (Heating) | E, Space Heating | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0%
100 | 100 | Learning Tstat, G | E, Cooling | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 50% | 0% | 0% | 0% | 0%
101 | 101 | ES Ceiling Fan | E, Plug Load | 35% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 35% | 0% | 0% | 0% | 0%
102 | 102 | ES Bathroom Ventilation Fan | E, Plug Load | 7% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 7% | 0% | 0% | 0% | 0%
103 | 103 | ECM Blower Motor | E, Plug Load | 7% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 7% | 0% | 0% | 0% | 0%
104 | 104 | ECM Circulators, DHW | E, Plug Load | 7% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 7% | 0% | 0% | 0% | 0%
105 | 105 | ECM Circulators, CW | E, Plug Load | 7% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 7% | 0% | 0% | 0% | 0%
106 | 106 | ECM Circulators, HW | E, Plug Load | 7% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 7% | 0% | 0% | 0% | 0%
107 | 107 | HEMS | E, ElecTotal | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0%
108 | 108 | ES Solar Water Heater | E, Water Heating | 79.4% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 79.4% | 0% | 0% | 0% | 0%
109 | 109 | Heat Pump Water Heater | E, Water Heating | 79.4% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 79.4% | 0% | 0% | 0% | 0%
110 | 110 | Faucet Aerator | E, Water Heating | 25% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 25% | 0% | 0% | 0% | 0%
111 | 111 | Low Flow Showerhead | E, Water Heating | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 50% | 0% | 0% | 0% | 0%
112 | 112 | Water Heater Pipe Insulation | E, Water Heating | 2% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 2% | 0% | 0% | 0% | 0%
113 | 113 | Water Heater Jacket | E, Water Heating | 8.63% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 8.63% | 0% | 0% | 0% | 0%
114 | 114 | WH Drainpipe Heat Exchange | E, Water Heating | 80% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 80% | 0% | 0% | 0% | 0%
115 | 115 | Water Heater Setback | E, Water Heating | 90% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 90% | 0% | 0% | 0% | 0%
116 | 116 | Therm Restriction Valve | E, Water Heating | 41.31% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 41.31% | 0% | 0% | 0% | 0%
117 | 117 | ES SF Clothes Washer (App) | E, Appliance | 5% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 5% | 0% | 0% | 0% | 0%
118 | 118 | ES SF Clothes Washer (WH) | E, Water Heating | 16% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 16% | 0% | 0% | 0% | 0%
119 | 119 | ES MF Clothes Washer (App) | E, Appliance | 5% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 5% | 0% | 0% | 0% | 0%
120 | 120 | ES MF Clothes Washer (WH) | E, Water Heating | 16% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 16% | 0% | 0% | 0% | 0%
121 | 121 | ES SF Clothes Dryer | E, Appliance | 5% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 5% | 0% | 0% | 0% | 0%
122 | 122 | ES MF Clothes Dryer | E, Appliance | 5% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 5% | 0% | 0% | 0% | 0%
123 | 123 | ES Dehumidifier | E, Appliance | 3% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 3% | 0% | 0% | 0% | 0%
124 | 124 | ES Dishwasher (App) | E, Appliance | 10% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 10% | 0% | 0% | 0% | 0%
125 | 125 | ES Dishwasher, WH | E, Water Heating | 5.2% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 5.2% | 0% | 0% | 0% | 0%
126 | 126 | ES Refrigerator | E, Appliance | 30% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 30% | 0% | 0% | 0% | 0%
127 | 127 | ES Freezer | E, Appliance | 30% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 30% | 0% | 0% | 0% | 0%
128 | 128 | Fridge and Freezer Removal | E, Appliance | 6% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 6% | 0% | 0% | 0% | 0%
129 | 129 | ES Air Purifier | E, Appliance | 4% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 4% | 0% | 0% | 0% | 0%
130 | 130 | ENERGY STAR Pool Pump | E, Appliance | 10% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 10% | 0% | 0% | 0% | 0%
131 | 131 | Tier 2 Power Strip | E, Plug Load | 20% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 20% | 0% | 0% | 0% | 0%
132 | 132 | ES Desktop Computer | E, Plug Load | 10% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 10% | 0% | 0% | 0% | 0%
133 | 133 | Efficient Windows (Cooling) | E, Cooling | 75% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 75% | 0% | 0% | 0% | 0%
134 | 134 | Efficient Windows (Heating) | E, Space Heating | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0%
135 | 135 | Window Attachments (Cooling) | E, Cooling | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0%
136 | 136 | Window Attachments (Heating) | E, Space Heating | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0%
137 | 137 | Attic Insulation, E (Cooling) | E, Cooling | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 50% | 0% | 0% | 0% | 0%
138 | 138 | Attic Insulation, E (Heating) | E, Space Heating | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0%
139 | 139 | Attic Insulation, G | E, Cooling | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 50% | 0% | 0% | 0% | 0%
140 | 140 | Air Sealing, E (Cooling) | E, Cooling | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 50% | 0% | 0% | 0% | 0%
141 | 141 | Air Sealing, E (Heating) | E, Space Heating | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0%
142 | 142 | Air Sealing, G | E, Cooling | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 50% | 0% | 0% | 0% | 0%
143 | 143 | LED Screw-in Lamp (18) | E, Indoor Lighting | 60% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 60% | 0% | 0% | 0% | 0%
144 | 144 | LED Screw-in Lamp (19) | E, Indoor Lighting | 60% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 60% | 0% | 0% | 0% | 0%
145 | 145 | LED Screw-in Lamp (20) | E, Indoor Lighting | 60% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 60% | 0% | 0% | 0% | 0%
146 | 146 | LED Screw-in Lamp (21) | E, Indoor Lighting | 60% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 60% | 0% | 0% | 0% | 0%
147 | 147 | ES LED Downlight Fixture (18) | E, Indoor Lighting | 20% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 20% | 0% | 0% | 0% | 0%
148 | 148 | ES LED Downlight Fixture (19) | E, Indoor Lighting | 20% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 20% | 0% | 0% | 0% | 0%
149 | 149 | ES LED Downlight Fixture (20) | E, Indoor Lighting | 20% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 20% | 0% | 0% | 0% | 0%
150 | 150 | ES LED Downlight Fixture (21) | E, Indoor Lighting | 20% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 20% | 0% | 0% | 0% | 0%
151 | 151 | LED DI (18) | E, Indoor Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0%
152 | 152 | LED DI (19) | E, Indoor Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0%
153 | 153 | LED DI (20) | E, Indoor Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0%
154 | 154 | LED DI (21) | E, Indoor Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0%
155 | 155 | Occupancy Sensors | E, Indoor Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0%
156 | 156 | Smart LED Screw-in Lamp | E, Indoor Lighting | 60% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 60% | 0% | 0% | 0% | 0%
157 | 157 | Ext Motion Sensor | E, Exterior Lighting | 30% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 30% | 0% | 0% | 0% | 0%
158 | 158 | Net Zero Energy Home | E, ElecTotal | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0%
159 | 159 | Energy Efficient New Home - Single Family | E, ElecTotal | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0%
160 | 160 | ENERGY STAR Manufactured Home | E, ElecTotal | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0%
161 | 161 | Energy Efficient New Home - Multi Family | E, ElecTotal | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0%
162 | 162 | Home Energy Reports Q3, Electric | E, ElecTotal | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0%
163 | 163 | Conservation Voltage Reduction | E, ElecTotal | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0%
164 | 164 | Integrated bldg design -Gas | E, ElecTotal | 0% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 0% | 0% | 0% | 0% | 0%
165 | 165 | Retrocommissioning/Calibrate Sensors - Gas Heat | E, ElecTotal | 0% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 0% | 0% | 0% | 0% | 0%
166 | 166 | Building Management System - Gas Heat | E, ElecTotal | 0% | 8% | 8% | 8% | 8% | 8% | 8% | 8% | 8% | 8% | 8% | 8% | 8% | 0% | 0% | 0% | 0% | 0%
167 | 167 | HP Window Glaze Gas | E, Cooling | 0% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 0% | 0% | 0% | 0% | 0%
168 | 168 | ES LED PAR/Flood Lamp, Ext (18) | E, Exterior Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0%
169 | 169 | ES LED PAR/Flood Lamp, Ext (19) | E, Exterior Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0%
170 | 170 | ES LED PAR/Flood Lamp, Ext (20) | E, Exterior Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0%
171 | 171 | ES LED PAR/Flood Lamp, Ext (21) | E, Exterior Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0%
172 | 172 | ENERGY STAR Pool Pump | E, Other | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 40% | 5% | 0% | 4.091% | 0% | 0% | 0% | 0% | 0%
173 | 173 | Data Center Retrofit | E, Other | 0% | 2% | 12% | 2% | 0% | 0% | 2% | 0% | 5% | 0% | 0% | 0% | 40% | 0% | 0% | 0% | 0% | 0%

## Feasibility
PM# | Meas |  | Primary Fuel End Use | Single Family | Small Office | Large Office | Small Retail | Large Retail | Warehouse | Education | Food Sales | Health | Lodging | Restaurant | Industrial | Other | Low Income | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 1 | ESTAR Room AC | E, Cooling | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
2 | 2 | Exterior Canopy/Soffit LED | E, Exterior Lighting | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
3 | 3 | Exterior Wall Pack LED | E, Exterior Lighting | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
4 | 4 | Improved Ext Lgt Design | E, Exterior Lighting | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
5 | 5 | Heat Pump Water Heater | E, Water Heating | 0% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
6 | 6 | High Volume Low Speed Fans | E, Ventilation | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
7 | 7 | Mini Split Ductless HP-Cool | E, Cooling | 0% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
8 | 8 | Mini Split Ductless HP-Heat | E, Space Heating | 0% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
9 | 9 | Optimized unitary HVAC distribution/control system | E, Cooling | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
10 | 10 | Optimized chiller distribution/control system | E, Cooling | 0% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
11 | 11 | Int Ltg Controls | E, Indoor Lighting | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
12 | 12 | Exit Sign Retrofit | E, Indoor Lighting | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
13 | 13 | High Bay LED | E, Indoor Lighting | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
14 | 14 | Incand. Over 100W Ret, Fixt. | E, Indoor Lighting | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
15 | 15 | Incand. Over 100W Ret, Lamp | E, Indoor Lighting | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
16 | 16 | Incand. Up to 100W Ret, Fixt. | E, Indoor Lighting | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
17 | 17 | Incand. Up to 100W Ret, Lamp | E, Indoor Lighting | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
18 | 18 | LED Troffers | E, Indoor Lighting | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
19 | 19 | Com LED Tube Replacement Lamps | E, Indoor Lighting | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
20 | 20 | Refrigerated Case LED | E, Indoor Lighting | 0% | 90% | 90% | 50% | 50% | 90% | 90% | 90% | 90% | 70% | 50% | 90% | 77.27% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
21 | 21 | Stairwell Occupancy Sensors | E, Indoor Lighting | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
22 | 22 | LED Street Lighting | E, Exterior Lighting | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
23 | 23 | Pre-Rinse Sprayers | E, Water Heating | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
24 | 24 | Chiller Tune-Up | E, Cooling | 0% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
25 | 25 | VSD, Chilled Water Pump | E, Other | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
26 | 26 | VSD, Heating Hot Water Pump | E, Other | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
27 | 27 | VSD, Condenser Water Pump | E, Other | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
28 | 28 | VSD, HVAC Fan | E, Ventilation | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
29 | 29 | VSD, Cooling Tower Fan | E, Ventilation | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
30 | 30 | Demand Control Ventilation-Cool | E, Cooling | 0% | 100% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 77.27% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
31 | 31 | Demand Control Ventilation-Heat | E, Space Heating | 0% | 100% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 77.27% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
32 | 32 | Demand Control Ventilation-Vent | E, Ventilation | 0% | 100% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 77.27% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
33 | 33 | Screw-Based LED | E, Indoor Lighting | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
34 | 34 | Retrofit duct sealing fan energy | E, Ventilation | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
35 | 35 | Retrofit duct sealing cool | E, Cooling | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
36 | 36 | Retrofit duct sealing HS fan | E, Ventilation | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
37 | 37 | Retrofit duct sealing HS cool | E, Cooling | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
38 | 38 | Ground Source HP (Heating) | E, Space Heating | 0% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
39 | 39 | Ground Source HP (Cooling) | E, Cooling | 0% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
40 | 40 | HE Clothes Washer, elec DHW | E, Water Heating | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
41 | 41 | Ozone Laundry System | E, Water Heating | 0% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
42 | 42 | Office Equipment Controls | E, Plug Load | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
43 | 43 | Window Film | E, Cooling | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
44 | 44 | Cool Roof | E, Cooling | 0% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
45 | 45 | LED Ped Light (Sign Lighting) | E, Exterior Lighting | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
46 | 46 | HE Kitchen Equipment | E, Cooking | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
47 | 47 | HP Window Glaze (Cooling) | E, Cooling | 0% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
48 | 48 | HP Window Glaze (Heating) | E, Space Heating | 0% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
49 | 49 | Compressed Air | E, Industrial Process | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
50 | 50 | Industrial Process | E, Industrial Process | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
51 | 51 | High Efficiency HP (Heating) | E, Space Heating | 0% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
52 | 52 | High Efficiency HP (Cooling) | E, Cooling | 0% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
53 | 53 | High Efficiency AC | E, Cooling | 0% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
54 | 54 | HP Tune Up (Heating) | E, Space Heating | 0% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
55 | 55 | HP Tune Up (Cooling) | E, Cooling | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
56 | 56 | AC Tune Up | E, Cooling | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
57 | 57 | Cooler Night Cover | E, Refrigeration | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
58 | 58 | Commercial Faucet Aerator (Elec WH) | E, Water Heating | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
59 | 59 | High Efficiency Chiller | E, Cooling | 0% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
60 | 60 | ECM Blower Motors | E, Ventilation | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
61 | 61 | Conservation Voltage Reduction | E, ElecTotal | 0% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
62 | 62 | Building Management System - Elec Heat | E, ElecTotal | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
63 | 63 | Control System for Hopitality | E, Cooling | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 9.091% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
64 | 64 | Retrocommissioning/Calibrate Sensors - Electric Heat | E, ElecTotal | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
65 | 65 | Integrated bldg design -Elec | E, ElecTotal | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
66 | 66 | Replace Cooler and Freezer Door Gaskets | E, Refrigeration | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
67 | 67 | Reach-in Storage Refrigerator | E, Refrigeration | 0% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
68 | 68 | HE Small Walk-In | E, Refrigeration | 0% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
69 | 69 | Refrigeration Retrofit | E, Refrigeration | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
70 | 70 | Strip Curtains | E, Refrigeration | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
71 | 71 | Advanced RTU Control - Elec Heat | E, ElecTotal | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
72 | 72 | Advanced RTU Control - Gas Heat | E, ElecTotal | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
73 | 73 | Network Connected LEDs | E, Indoor Lighting | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
74 | 74 | High Efficiency Chiller vs DX System | E, Cooling | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
75 | 75 | Replace Pneumatic contols with DDC - Elec Heat | E, ElecTotal | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
76 | 76 | Replace Pneumatic contols with DDC - Gas Heat | E, ElecTotal | 0% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
77 | 77 | Central AC | E, Cooling | 80% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 80% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
78 | 78 | QI Central AC | E, Cooling | 80% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 80% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
79 | 79 | ASHP (Cooling) | E, Cooling | 70% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 70% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
80 | 80 | ASHP (Heating) | E, Space Heating | 70% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 70% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
81 | 81 | QI ASHP (Cooling) | E, Cooling | 70% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 70% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
82 | 82 | QI ASHP (Heating) | E, Space Heating | 70% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 70% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
83 | 83 | CAC Tune-Up | E, Cooling | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
84 | 84 | ASHP Tune-Up (Cooling) | E, Cooling | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
85 | 85 | ASHP Tune-Up (Heating) | E, Space Heating | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
86 | 86 | ES Room AC | E, Cooling | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
87 | 87 | GSHP (Cooling) | E, Cooling | 10% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 10% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
88 | 88 | GSHP (Heating) | E, Space Heating | 15% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 15% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
89 | 89 | DMSAC | E, Cooling | 20% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 20% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
90 | 90 | DMSHP (Cooling) | E, Cooling | 20% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 20% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
91 | 91 | DMSHP (Heating) | E, Space Heating | 20% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 20% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
92 | 92 | Duct Sealing, E (Cooling) | E, Cooling | 60% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 60% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
93 | 93 | Duct Sealing, E (Heating) | E, Space Heating | 60% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 60% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
94 | 94 | Duct Sealing, G | E, Cooling | 60% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 60% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
95 | 95 | Smart Tstat, E (Cooling) | E, Cooling | 90% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 90% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
96 | 96 | Smart Tstat, E (Heating) | E, Space Heating | 90% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 90% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
97 | 97 | Smart Tstat, G | E, Cooling | 90% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 90% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
98 | 98 | Learning Tstat, E (Cooling) | E, Cooling | 90% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 90% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
99 | 99 | Learning Tstat, E (Heating) | E, Space Heating | 90% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 90% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
100 | 100 | Learning Tstat, G | E, Cooling | 90% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 90% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
101 | 101 | ES Ceiling Fan | E, Plug Load | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
102 | 102 | ES Bathroom Ventilation Fan | E, Plug Load | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
103 | 103 | ECM Blower Motor | E, Plug Load | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
104 | 104 | ECM Circulators, DHW | E, Plug Load | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
105 | 105 | ECM Circulators, CW | E, Plug Load | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
106 | 106 | ECM Circulators, HW | E, Plug Load | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
107 | 107 | HEMS | E, ElecTotal | 80% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 80% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
108 | 108 | ES Solar Water Heater | E, Water Heating | 70% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 70% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
109 | 109 | Heat Pump Water Heater | E, Water Heating | 90% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 90% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
110 | 110 | Faucet Aerator | E, Water Heating | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
111 | 111 | Low Flow Showerhead | E, Water Heating | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
112 | 112 | Water Heater Pipe Insulation | E, Water Heating | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
113 | 113 | Water Heater Jacket | E, Water Heating | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
114 | 114 | WH Drainpipe Heat Exchange | E, Water Heating | 90% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 90% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
115 | 115 | Water Heater Setback | E, Water Heating | 86% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 86% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
116 | 116 | Therm Restriction Valve | E, Water Heating | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
117 | 117 | ES SF Clothes Washer (App) | E, Appliance | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
118 | 118 | ES SF Clothes Washer (WH) | E, Water Heating | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
119 | 119 | ES MF Clothes Washer (App) | E, Appliance | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
120 | 120 | ES MF Clothes Washer (WH) | E, Water Heating | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
121 | 121 | ES SF Clothes Dryer | E, Appliance | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
122 | 122 | ES MF Clothes Dryer | E, Appliance | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
123 | 123 | ES Dehumidifier | E, Appliance | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
124 | 124 | ES Dishwasher (App) | E, Appliance | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
125 | 125 | ES Dishwasher, WH | E, Water Heating | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
126 | 126 | ES Refrigerator | E, Appliance | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
127 | 127 | ES Freezer | E, Appliance | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
128 | 128 | Fridge and Freezer Removal | E, Appliance | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
129 | 129 | ES Air Purifier | E, Appliance | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
130 | 130 | ENERGY STAR Pool Pump | E, Appliance | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
131 | 131 | Tier 2 Power Strip | E, Plug Load | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
132 | 132 | ES Desktop Computer | E, Plug Load | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
133 | 133 | Efficient Windows (Cooling) | E, Cooling | 60% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 60% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
134 | 134 | Efficient Windows (Heating) | E, Space Heating | 60% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 60% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
135 | 135 | Window Attachments (Cooling) | E, Cooling | 60% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 60% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
136 | 136 | Window Attachments (Heating) | E, Space Heating | 60% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 60% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
137 | 137 | Attic Insulation, E (Cooling) | E, Cooling | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
138 | 138 | Attic Insulation, E (Heating) | E, Space Heating | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
139 | 139 | Attic Insulation, G | E, Cooling | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
140 | 140 | Air Sealing, E (Cooling) | E, Cooling | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
141 | 141 | Air Sealing, E (Heating) | E, Space Heating | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
142 | 142 | Air Sealing, G | E, Cooling | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
143 | 143 | LED Screw-in Lamp (18) | E, Indoor Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
144 | 144 | LED Screw-in Lamp (19) | E, Indoor Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
145 | 145 | LED Screw-in Lamp (20) | E, Indoor Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
146 | 146 | LED Screw-in Lamp (21) | E, Indoor Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
147 | 147 | ES LED Downlight Fixture (18) | E, Indoor Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
148 | 148 | ES LED Downlight Fixture (19) | E, Indoor Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
149 | 149 | ES LED Downlight Fixture (20) | E, Indoor Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
150 | 150 | ES LED Downlight Fixture (21) | E, Indoor Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
151 | 151 | LED DI (18) | E, Indoor Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
152 | 152 | LED DI (19) | E, Indoor Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
153 | 153 | LED DI (20) | E, Indoor Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
154 | 154 | LED DI (21) | E, Indoor Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
155 | 155 | Occupancy Sensors | E, Indoor Lighting | 35% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 35% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
156 | 156 | Smart LED Screw-in Lamp | E, Indoor Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
157 | 157 | Ext Motion Sensor | E, Exterior Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
158 | 158 | Net Zero Energy Home | E, ElecTotal | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
159 | 159 | Energy Efficient New Home - Single Family | E, ElecTotal | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
160 | 160 | ENERGY STAR Manufactured Home | E, ElecTotal | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
161 | 161 | Energy Efficient New Home - Multi Family | E, ElecTotal | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
162 | 162 | Home Energy Reports Q3, Electric | E, ElecTotal | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
163 | 163 | Conservation Voltage Reduction | E, ElecTotal | 75% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 75% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
164 | 164 | Integrated bldg design -Gas | E, ElecTotal | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
165 | 165 | Retrocommissioning/Calibrate Sensors - Gas Heat | E, ElecTotal | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
166 | 166 | Building Management System - Gas Heat | E, ElecTotal | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
167 | 167 | HP Window Glaze Gas | E, Cooling | 0% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
168 | 168 | ES LED PAR/Flood Lamp, Ext (18) | E, Exterior Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
169 | 169 | ES LED PAR/Flood Lamp, Ext (19) | E, Exterior Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
170 | 170 | ES LED PAR/Flood Lamp, Ext (20) | E, Exterior Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
171 | 171 | ES LED PAR/Flood Lamp, Ext (21) | E, Exterior Lighting | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
172 | 172 | ENERGY STAR Pool Pump | E, Other | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
173 | 173 | Data Center Retrofit | E, Other | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%