## Summary Results
| RIM (ENO) | UCT (ENO)
ENO Cost-Effectiveness Test Result | 0.49662 | 0.52949
| RIM (TNO/AAE) | UCT (TNO/AAE)
TNO Cost-Effectiveness Test Result | 0.38572 | 0.40711

## ENO Input Assumptions
Proposed Battery Installations and Capacity
|  |  | Number of Battery Systems (Cumulative) | [5 empty] | Projected Installed MWh of Battery Capacity Enrolled (Cumulative) | [13 empty] | Projected MW-years Accredited/Registered with MISO (based on demand reduction capability without ZRC gross-ups)
| Program | Eligible Customers | Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14
| BESS Retrofit | Residential (LMI) |  | 100 | 200 | 300 | 400 | 500 | 1.35 | 2.7 | 4.05 | 5.4 | 6.75 | 6.75 | 6.75 | 6.75 | 6.75 | 6.75 | 5.4 | 4.05 | 2.7 | 1.35 | 0.27 | 0.54 | 0.81 | 1.08 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.08 | 0.81 | 0.54 | 0.27
| BESS Retrofit | Residential |  | 400 | 800 | 1200 | 1600 | 2000 | 5.4 | 10.8 | 16.2 | 21.6 | 27 | 27 | 27 | 27 | 27 | 27 | 21.6 | 16.2 | 10.8 | 5.4 | 1.08 | 2.16 | 3.24 | 4.32 | 5.4 | 5.4 | 5.4 | 5.4 | 5.4 | 5.4 | 4.32 | 3.24 | 2.16 | 1.08
| BESS New Installation | Residential (LMI) |  | 100 | 200 | 300 | 400 | 500 | 1.35 | 2.7 | 4.05 | 5.4 | 6.75 | 6.75 | 6.75 | 6.75 | 6.75 | 6.75 | 5.4 | 4.05 | 2.7 | 1.35 | 0.27 | 0.54 | 0.81 | 1.08 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.08 | 0.81 | 0.54 | 0.27
| BESS New Installation | Residential |  | 250 | 500 | 750 | 1000 | 1250 | 3.375 | 6.75 | 10.125 | 13.5 | 16.875 | 16.875 | 16.875 | 16.875 | 16.875 | 16.875 | 13.5 | 10.125 | 6.75 | 3.375 | 0.675 | 1.35 | 2.025 | 2.7 | 3.375 | 3.375 | 3.375 | 3.375 | 3.375 | 3.375 | 2.7 | 2.025 | 1.35 | 0.675
| Existing Pilot | Residential | 85 | 85 | 85 | 85 | 85 | 85 | 1.1475 | 1.1475 | 1.1475 | 1.1475 | 1.1475 | 1.1475 | 1.1475 | 1.1475 | 1.1475 | 1.1475 | 1.1475 | 1.1475 | 1.1475 | 1.1475 | 0.2295 | 0.2295 | 0.2295 | 0.2295 | 0.2295 | 0.2295 | 0.2295 | 0.2295 | 0.2295 | 0.2295 | 0.2295 | 0.2295 | 0.2295 | 0.2295
| Existing Pilot | Commercial | 15 | 15 | 15 | 15 | 15 | 15 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.192 | 0.192 | 0.192 | 0.192 | 0.192 | 0.192 | 0.192 | 0.192 | 0.192 | 0.192 | 0.192 | 0.192 | 0.192 | 0.192
| TOTAL | Residential | 85 | 935 | 1785 | 2635 | 3485 | 4335 | 12.6225 | 24.0975 | 35.5725 | 47.0475 | 58.5225 | 58.5225 | 58.5225 | 58.5225 | 58.5225 | 58.5225 | 47.0475 | 35.5725 | 24.0975 | 12.6225 | 2.5245 | 4.8195 | 7.1145 | 9.4095 | 11.7045 | 11.7045 | 11.7045 | 11.7045 | 11.7045 | 11.7045 | 9.4095 | 7.1145 | 4.8195 | 2.5245
| TOTAL | Commercial | 15 | 15 | 15 | 15 | 15 | 15 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.192 | 0.192 | 0.192 | 0.192 | 0.192 | 0.192 | 0.192 | 0.192 | 0.192 | 0.192 | 0.192 | 0.192 | 0.192 | 0.192
| TOTAL (All customer classes) |  | 100 | 950 | 1800 | 2650 | 3500 | 4350 | 13.5825 | 25.0575 | 36.5325 | 48.0075 | 59.4825 | 59.4825 | 59.4825 | 59.4825 | 59.4825 | 59.4825 | 48.0075 | 36.5325 | 25.0575 | 13.5825 | 2.7165 | 5.0115 | 7.3065 | 9.6015 | 11.8965 | 11.8965 | 11.8965 | 11.8965 | 11.8965 | 11.8965 | 9.6015 | 7.3065 | 5.0115 | 2.7165
Projected Costs | bar: Number of Battery Systems (Cumulative) Year 0 to Projected Installed MWh of Battery Capacity Enrolled (Cumulative) Year 11
|  |  |  | Annual Upfront Incentive Costs |  |  |  |  | Reccuring Energy Smart Incentives
| Program | Eligible Customers |  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14
| BESS Retrofit | Residential (LMI) |  | 540000 | 540000 | 540000 | 540000 | 540000 | 60000 | 120000 | 180000 | 240000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 240000 | 180000 | 120000 | 60000
| BESS Retrofit | Residential |  | 810000 | 810000 | 810000 | 810000 | 810000 | 240000 | 480000 | 720000 | 960000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 960000 | 720000 | 480000 | 240000
| BESS New Installation | Residential (LMI) |  | 236250 | 236250 | 236250 | 236250 | 236250 | 60000 | 120000 | 180000 | 240000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 240000 | 180000 | 120000 | 60000
| BESS New Installation | Residential |  | 253125 | 253125 | 253125 | 253125 | 253125 | 150000 | 300000 | 450000 | 600000 | 750000 | 750000 | 750000 | 750000 | 750000 | 750000 | 600000 | 450000 | 300000 | 150000
| Existing Pilot | Residential |  | 0 | 0 | 0 | 0 | 0 | 51000 | 51000 | 51000 | 51000 | 51000 | 51000 | 51000 | 51000 | 51000 | 51000 | 51000 | 51000 | 51000 | 51000
| Existing Pilot | Commercial |  | 0 | 0 | 0 | 0 | 0 | 27000 | 27000 | 27000 | 27000 | 27000 | 27000 | 27000 | 27000 | 27000 | 27000 | 27000 | 27000 | 27000 | 27000
| TOTAL | Residential |  | 1839375 | 1839375 | 1839375 | 1839375 | 1839375 | 561000 | 1071000 | 1581000 | 2091000 | 2601000 | 2601000 | 2601000 | 2601000 | 2601000 | 2601000 | 2091000 | 1581000 | 1071000 | 561000
| TOTAL | Commercial |  | 0 | 0 | 0 | 0 | 0 | 27000 | 27000 | 27000 | 27000 | 27000 | 27000 | 27000 | 27000 | 27000 | 27000 | 27000 | 27000 | 27000 | 27000
| TOTAL (All customer classes) |  |  | 1839375 | 1839375 | 1839375 | 1839375 | 1839375 | 588000 | 1098000 | 1608000 | 2118000 | 2628000 | 2628000 | 2628000 | 2628000 | 2628000 | 2628000 | 2118000 | 1608000 | 1098000 | 588000
Program Customer Incentives | bar: Annual Upfront Incentive Costs Year 1 to Reccuring Energy Smart Incentives Year 11
Customer Incentives
| Program | Eligible Customers |  | Annual Upfront Incentive Costs Year 1: Upfront Incentive; Annual Upfront Incentive Costs Year 2: Upfront Incentive Unit; Annual Upfront Incentive Costs Year 4: Ongoing Incentive Cap; Annual Upfront Incentive Costs Year 5: Ongoing Incentives; Reccuring Energy Smart Incentives Year 1: Average installed kWh; Reccuring Energy Smart Incentives Year 2: Unit
| BESS Retrofit | Residential (LMI) |  | Annual Upfront Incentive Costs Year 1: 400; Annual Upfront Incentive Costs Year 2: Per kWh (capped at 13.5 kWh); Annual Upfront Incentive Costs Year 4: 600; Annual Upfront Incentive Costs Year 5: $125 Per kW (capped at $600 per year); Reccuring Energy Smart Incentives Year 1: 13.5; Reccuring Energy Smart Incentives Year 2: Installed kWh per Site
| BESS Retrofit | Residential |  | Annual Upfront Incentive Costs Year 1: 150; Annual Upfront Incentive Costs Year 2: Per kWh (capped at 13.5 kWh); Annual Upfront Incentive Costs Year 4: 600; Annual Upfront Incentive Costs Year 5: $125 Per kW (capped at $600 per year); Reccuring Energy Smart Incentives Year 1: 13.5; Reccuring Energy Smart Incentives Year 2: Installed kWh per Site
| BESS New Installation | Residential (LMI) |  | Annual Upfront Incentive Costs Year 1: 175; Annual Upfront Incentive Costs Year 2: Per kWh (capped at 13.5 kWh); Annual Upfront Incentive Costs Year 4: 600; Annual Upfront Incentive Costs Year 5: $125 Per kW (capped at $600 per year); Reccuring Energy Smart Incentives Year 1: 13.5; Reccuring Energy Smart Incentives Year 2: Installed kWh per Site
| BESS New Installation | Residential |  | Annual Upfront Incentive Costs Year 1: 75; Annual Upfront Incentive Costs Year 2: Per kWh (capped at 13.5 kWh); Annual Upfront Incentive Costs Year 4: 600; Annual Upfront Incentive Costs Year 5: $125 Per kW (capped at $600 per year); Reccuring Energy Smart Incentives Year 1: 13.5; Reccuring Energy Smart Incentives Year 2: Installed kWh per Site
| Existing Pilot | Residential |  | Annual Upfront Incentive Costs Year 1: 0; Annual Upfront Incentive Costs Year 2: N/A; Annual Upfront Incentive Costs Year 4: 600; Annual Upfront Incentive Costs Year 5: $125 Per kW (capped at $600 per year); Reccuring Energy Smart Incentives Year 1: 13.5; Reccuring Energy Smart Incentives Year 2: Installed kWh per Site
| Existing Pilot | Commercial |  | Annual Upfront Incentive Costs Year 1: 0; Annual Upfront Incentive Costs Year 2: N/A; Annual Upfront Incentive Costs Year 4: 1800; Annual Upfront Incentive Costs Year 5: $125 Per kW (capped at $1800 per year); Reccuring Energy Smart Incentives Year 1: 64; Reccuring Energy Smart Incentives Year 2: Installed kWh per Site
MISO Inputs | bar: Annual Upfront Incentive Costs Year 1 to Reccuring Energy Smart Incentives Year 11
MISO Planning Reserve Margin (UCAP)
| Season |  | Source: MISO Final obligations for LSEs using RBDC Opt Out provisions for PY 2025 -2026
| Summer | 7.9%
| Fall | 14.9%
| Winter | 18.4%
| Spring | 25.3%
| Average | 16.62%
| Transmission line loss rate |  | Source: MISO PY 2025-2026 EES Transmission Losses
Season
| Summer | 1.9%
| Fall | 1.6%
| Winter | 2.5%
| Spring | 1.6%
| Average | 1.9%
| Distribution Line Losses | 4.19% | Source: Energy Smart 2024 Cost-benefit analysis
| Annual kWh per kW Enrolled | 120 | Based on assumption that up to 60 events per year at 2 hours per event may be called
Financial Inputs | bar: Annual Upfront Incentive Costs Year 1 to Reccuring Energy Smart Incentives Year 11
| Benchmark Return on Ratebase (WACC - After Tax) | 7.28% | Source: ENO FRP TY 23
Energy charges for eligible rate schedules:
|  | All kWh | FRP Adjustment (as of May 2025)
| RES-25 | 0.07956 | 28.11%
Note on C66: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The base energy charge rate shown below is the rate for the first block of energy (where applicable).

## TNO-AAE Input Assumptions
Proposed Battery Installations and Capacity
|  |  |  | Number of Battery Systems (Cumulative) |  |  | Projected Installed MWh of Battery Capacity Enrolled (Cumulative; also referred to as BESS Energy in TNO filing) | [9 empty] | Projected MW-years Accredited/Registered with MISO (based on demand reduction capability without ZRC gross-ups) | [9 empty] | "Deliverable Capacity" (MW; Cumulative)
| Vendor | Program | Eligible Customers | Year 1 | Year 2 | Year 3 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10
|  | BESS Residential | Residential | 222 | 609 | 1119 | 3.885 | 10.6575 | 19.5825 | 17.6242 | 17.918 | 18.2117 | 18.5055 | 18.7992 | 19.0929 | 19.3867 | 0.777 | 2.1315 | 3.9165 | 3.5249 | 3.5836 | 3.6423 | 3.7011 | 3.7598 | 3.8186 | 3.8773 | 1.554 | 4.263 | 7.833 | 7.0497 | 7.1672 | 7.2847 | 7.4022 | 7.5197 | 7.6372 | 7.7547
|  | BESS Residential (LMI) | Residential (LMI) | 148 | 406 | 746 | 1.998 | 5.481 | 10.071 | 9.0639 | 9.215 | 9.366 | 9.5171 | 9.6682 | 9.8192 | 9.9703 | 0.3996 | 1.0962 | 2.0142 | 1.8128 | 1.843 | 1.8732 | 1.9034 | 1.9336 | 1.9638 | 1.9941 | 0.7992 | 2.1924 | 4.0284 | 3.6256 | 3.686 | 3.7464 | 3.8068 | 3.8673 | 3.9277 | 3.9881
|  | BESS Community | Community/Non Res. | 50 | 140 | 255 | 7.27 | 20.356 | 37.077 | 33.3693 | 33.9255 | 34.4816 | 35.0378 | 35.5939 | 36.1501 | 36.7062 | 1.454 | 4.0712 | 7.4154 | 6.6739 | 6.7851 | 6.8963 | 7.0076 | 7.1188 | 7.23 | 7.3412 | 2.908 | 8.1424 | 14.8308 | 13.3477 | 13.5702 | 13.7926 | 14.0151 | 14.2376 | 14.46 | 14.6825
|  |  | Participation Rate | Projected Installed MWh of Battery Capacity Enrolled (Cumulative; also referred to as BESS Energy in TNO filing) Year 1: 100%; Projected Installed MWh of Battery Capacity Enrolled (Cumulative; also referred to as BESS Energy in TNO filing) Year 2: 100%; Projected Installed MWh of Battery Capacity Enrolled (Cumulative; also referred to as BESS Energy in TNO filing) Year 3: 100%; Projected Installed MWh of Battery Capacity Enrolled (Cumulative; also referred to as BESS Energy in TNO filing) Year 4: 90%; Projected Installed MWh of Battery Capacity Enrolled (Cumulative; also referred to as BESS Energy in TNO filing) Year 5: 91.5%; Projected Installed MWh of Battery Capacity Enrolled (Cumulative; also referred to as BESS Energy in TNO filing) Year 6: 93%; Projected Installed MWh of Battery Capacity Enrolled (Cumulative; also referred to as BESS Energy in TNO filing) Year 7: 94.5%; Projected Installed MWh of Battery Capacity Enrolled (Cumulative; also referred to as BESS Energy in TNO filing) Year 8: 96%; Projected Installed MWh of Battery Capacity Enrolled (Cumulative; also referred to as BESS Energy in TNO filing) Year 9: 97.5%; Projected Installed MWh of Battery Capacity Enrolled (Cumulative; also referred to as BESS Energy in TNO filing) Year 10: 99%
|  | TOTAL | Residential | 370 | 1015 | 1865 | 5.883 | 16.1385 | 29.6535 | 26.6882 | 27.133 | 27.5778 | 28.0226 | 28.4674 | 28.9122 | 29.357 | 1.1766 | 3.2277 | 5.9307 | 5.3376 | 5.4266 | 5.5156 | 5.6045 | 5.6935 | 5.7824 | 5.8714 | 2.3532 | 6.4554 | 11.8614 | 10.6753 | 10.8532 | 11.0311 | 11.209 | 11.3869 | 11.5649 | 11.7428
|  | TOTAL | Community/Non-Res. | 50 | 140 | 255 | 7.27 | 20.356 | 37.077 | 33.3693 | 33.9255 | 34.4816 | 35.0378 | 35.5939 | 36.1501 | 36.7062 | 1.454 | 4.0712 | 7.4154 | 6.6739 | 6.7851 | 6.8963 | 7.0076 | 7.1188 | 7.23 | 7.3412 | 2.908 | 8.1424 | 14.8308 | 13.3477 | 13.5702 | 13.7926 | 14.0151 | 14.2376 | 14.46 | 14.6825
|  | TOTAL (All customer classes) |  | 420 | 1155 | 2120 | 13.153 | 36.4945 | 66.7305 | 60.0575 | 61.0584 | 62.0594 | 63.0603 | 64.0613 | 65.0622 | 66.0632 | 2.6306 | 7.2989 | 13.3461 | 12.0115 | 12.2117 | 12.4119 | 12.6121 | 12.8123 | 13.0124 | 13.2126 | 5.2612 | 14.5978 | 26.6922 | 24.023 | 24.4234 | 24.8237 | 25.2241 | 25.6245 | 26.0249 | 26.4253
Projected Costs | bar: Number of Battery Systems (Cumulative) Year 1 to Projected MW-years Accredited/Registered with MISO (based on demand reduction capability without ZRC gross-ups) Year 2
|  |  |  | Annual Upfront Incentive Costs |  |  | Pay-for-Performance Incentives
| Vendor | Program | Eligible Customers | Year 1 | Year 2 | Year 3 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10
|  | BESS Residential | Residential | 1740000 | 3045000 | 3915000 | 0 | 0 | 0 | 281988 | 286687.8 | 291387.6 | 296087.4 | 300787.2 | 305487 | 310186.8
|  | BESS Residential (LMI) | Residential (LMI) | 1160000 | 2030000 | 2610000 | 0 | 0 | 0 | 145022.4 | 147439.44 | 149856.48 | 152273.52 | 154690.56 | 157107.6 | 159524.64
|  | BESS Community | Community/Non-Res. | 2900000 | 5075000 | 6525000 | 0 | 0 | 0 | 533908.8 | 542807.28 | 551705.76 | 560604.24 | 569502.72 | 578401.2 | 587299.68
|  | TOTAL | Residential | 2900000 | 5075000 | 6525000 | 0 | 0 | 0 | 427010.4 | 434127.24 | 441244.08 | 448360.92 | 455477.76 | 462594.6 | 469711.44
|  | TOTAL | Community/Non-Res. | 2900000 | 5075000 | 6525000 | 0 | 0 | 0 | 533908.8 | 542807.28 | 551705.76 | 560604.24 | 569502.72 | 578401.2 | 587299.68
|  | TOTAL (All customer classes) |  | 5800000 | 10150000 | 13050000 | 0 | 0 | 0 | 960919.2 | 976934.52 | 992949.84 | 1008965.16 | 1024980.48 | 1040995.8 | 1057011.12
Program Customer Incentives
Customer Incentives
|  | Program | Eligible Customers | Annual Upfront Incentive Costs Year 1: Upfront; Annual Upfront Incentive Costs Year 2: Unit; Annual Upfront Incentive Costs Year 3: Pay-for-Performance; Pay-for-Performance Incentives Year 1: Unit; Pay-for-Performance Incentives Year 2: Avg "BESS Energy" per Site; Pay-for-Performance Incentives Year 3: Unit
|  | BESS Retrofit | Residential | Annual Upfront Incentive Costs Year 1: 1000; Annual Upfront Incentive Costs Year 2: Per kW of Deliverable Capacity; Annual Upfront Incentive Costs Year 3: 40; Pay-for-Performance Incentives Year 1: Per kW-year; Pay-for-Performance Incentives Year 2: 17.5; Pay-for-Performance Incentives Year 3: Installed kwh per Site
|  | BESS Retrofit | Residential (LMI) | Annual Upfront Incentive Costs Year 1: 1000; Annual Upfront Incentive Costs Year 2: Per kW of Deliverable Capacity; Annual Upfront Incentive Costs Year 3: 40; Pay-for-Performance Incentives Year 1: Per kW-year; Pay-for-Performance Incentives Year 2: 13.5; Pay-for-Performance Incentives Year 3: Installed kwh per Site
|  | BESS Community | Community/Non-Res. | Annual Upfront Incentive Costs Year 1: 1000; Annual Upfront Incentive Costs Year 2: Per kW of Deliverable Capacity; Annual Upfront Incentive Costs Year 3: 40; Pay-for-Performance Incentives Year 1: Per kW-year; Pay-for-Performance Incentives Year 2: 145.4; Pay-for-Performance Incentives Year 3: Installed kwh per Site
MISO Inputs
MISO Planning Reserve Margin (UCAP)
| Season |  | Source: MISO Final obligations for LSEs using RBDC Opt Out provisions for PY 2025 -2026
| Summer | 7.9%
| Fall | 14.9%
| Winter | 18.4%
| Spring | 25.3%
| Average | 16.62%
| Transmission line loss rate |  | Source: MISO PY 2025-2026 EES Transmission Losses
Season
| Summer | 1.9%
| Fall | 1.6%
| Winter | 2.5%
| Spring | 1.6%
| Average | 1.9%
| Distribution Line Losses | 4.19% | Source: Energy Smart 2024 Cost-benefit analysis
| Annual kWh per kW Enrolled | 120 | Based on assumption that up to 60 events per year at 2 hours per event may be called
Financial Inputs
| Benchmark Return on Ratebase (WACC - After Tax) | 7.28% | Source: ENO FRP TY 23
Energy charges for eligible rate schedules:
|  | All kWh | FRP Adjustment
| RES-25 | 0.07956 | 28.11%
| SE-25 | 0.08204 | 30.74%
| LE-25 | 0.06781 | 30%
Note on E2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Per TNO Benefit-Cost Analysis Worksheet (page 4)
Note on D8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Per TNO Benefit-Cost Analysis Worksheet (page 2)
Note on E16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Per TNO Benefit-Cost Analysis Worksheet (page 4) and applying 40% of residential incentives to LMI customers, consistent with TNO's Supplementary Response submitted on May 8, 2025
Note on G28: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Per TNO Benefit-Cost Analysis Worksheet (page 2)
Note on I28: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Per TNO Benefit-Cost Analysis Worksheet (page 2)
Note on C59: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The base energy charge rate shown below is the rate for the first block of energy (where applicable).