## Slide 1: Entergy New Orleans: TRM V9.0 Plan May 22, 2025
Notes: Longest continually active Catholic church in America, from the 1700s.

## Slide 2: TRM v9.0
Overview of proposed Updates

## Slide 3: Introductions
Robert Oliver, Principal
Principal-in-Charge, Oversight of Contractual Issues
Zephaniah Davis, Director
Evaluation Manager, TRM Lead
Blake Heckendorn, P.E., Senior Engineer
C&I Evaluation Lead, TRM Support

## Slide 4: Contents
Errata in TRM 8.0
Proposed New Measure Additions
Measure Study – Spray Foam ISR
Proposed Measure Study – Incremental Costs
Questions/Discussion

## Slide 5: Errata from TRM 8.0
Volume and Chapter Number | Pages Number | Illustration/Description of Changes
Volume II, Section 2.3.5 | 241 | 

## Slide 6: New Chapter additions (1/5)
Insulated Cellular Shades (Res)
  Honeycomb structure: air gaps R-value 3.25 – 5
  Significantly reduced heat transfer compared to traditional shades
  2.15 kWh/ft²
  IC: $40 per shade
  EUL: 10

## Slide 7: New Chapter additions (2/5)
Shade Tree Planting (Res)
  Eligible types of native trees, focusing on low maintenance deciduous trees
  Guidelines for optimal placement
  Lower savings in first five years, significantly greater savings year 6-25
  Algorithm-based savings
    ~70/kWh tree
    IC: TBD (actual cost)
    EUL: 25+

## Slide 8: New Chapter additions (3/5)
Aftermarket Smart Dryer Sensor (Res)
  Add-on device as opposed to a new dryer
    Sensor that detects temperature and humidity in the dryer
    A connected hub with built-in shut-off mechanism
  Primarily residential applications, but will also include a deemed MF value for laundry rooms which are not coin-operated
  Gas 25.3 kWh, ER: 134.0 kWh
  IC: $60 for non-intrusive, $150
    for fully attached
  EUL: 16

## Slide 9: New Chapter additions (4/5)
Building Operator Certification (COM/Public)
  BOC Level 1
    Efficient operation of HVAC systems
    Measuring and benchmarking energy
    Efficient Lighting Fundamentals
    HVAC Controls Fundamentals
    Indoor Environment Quality
    Common opportunities for low-cost operational improvement
  BOC Level 2
    Building Scoping and Operational Improvements
    Optimizing HVAC Controls for Energy Efficiency
    Introduction to Building Commissioning
    Peer project exchange
  Not additive
  ≤500,000/ft²
    0.274 kWh/ft²
    IC: $1,695 training, $0.014/ft²
    EUL: 13

## Slide 10: New Chapter additions (5/5)
Lithium Ion Forklift Batteries (COM)
  Lower internal resistance compared with lead acid
    kWh based on operation schedule:
    IC: $17,200 vehicle,
      $17,000 conversion
    EUL: 15 years
Operation | kWh Saved
1-shift (8 h/d - 5 d/w) | 11,707
2-shift (16 h/d - 5 d/w) | 23,414
3-shift (24 h/d - 5 d/w) | 35,121
4-shift (24 h/d - 7 d/w) | 49,169

## Slide 11: Data collection for Chapter revision
1.4.8 Polyurethane Foam Sealant
  Introduced in TRM 8 with well-reasoned assumptions taken from PA TRM and implementor best estimates
  Planned during first year of distribution that follow-up research would occur
  ISR/use
    Whether the can was used
    Types of penetrations sealed
    Total number/linear feet sealed

## Slide 12: Special Study
Major Measure Incremental Cost Study 1/2
Current Practices
  DEER
  ADM speculates these are higher than in New Orleans
Issues in Applying External Sources
  Equipment Costs
  Installation Labor Costs
  Measure Baseline
Surveys data collection:
  Wholesalers, distributors and retailers in the New Orleans area
  Labor rates of local contractors

## Slide 13: Special Study
Major Measure Incremental Cost Study 2/2
Focus
  HIMs (based on total kWh saved),
  Incentives
  Sensitivity to input factors
C&I | PY14 Expected Savings Share | Incentives Share
VFDs | 20.5% | 9.4%
HVAC Tune-Up | 19.0% | 19.3%
Linear LEDs | 9.2% | 10.2%
LED Fixtures | 4.8% | 10.3%
Chillers | 4.3% | 4.5%
Combined Share | 57.8% | 53.7%
Residential | PY14 Expected Savings Share | Incentives Share
Duct Sealing | 35.6% | 21.5%
Air Infiltration | 15.6% | 17.3%
Central AC Tune-Up | 14.5% | 7.5%
Air Purifiers | 9.3% | 13.1%
Combined Share | 75.0% | 59.3%

## Slide 14: Questions?