## Summary Results
| RIM (ENO) | UCT (ENO)
ENO Cost-Effectiveness Test Result | 0.28865 | 0.29507
| RIM (TNO) | UCT (TNO)
TNO Cost-Effectiveness Test Result | 0.15443 | 0.15624

## ENO Input Assumptions
Proposed Battery Installations and Capacity
|  |  | Number of Customer Sites (Cumulative) |  |  |  | Projected Installed MWh of Battery Capacity Enrolled (Cumulative) | [9 empty] | Projected MW-years Accredited/Registered with MISO (based on demand reduction capability without ZRC gross-ups)
| Program | Eligible Customers | Year 0 | Year 1 | Year 2 | Year 3 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10
| BESS Residential (LMI) | Residential (LMI) |  | 169 | 338 | 507 | 2.2815 | 4.563 | 6.8445 | 6.8445 | 6.8445 | 6.8445 | 6.8445 | 6.8445 | 6.8445 | 6.8445 | 0.4563 | 0.9126 | 1.3689 | 1.3689 | 1.3689 | 1.3689 | 1.3689 | 1.3689 | 1.3689 | 1.3689
| BESS Residential | Residential |  | 204 | 408 | 612 | 2.754 | 5.508 | 8.262 | 8.262 | 8.262 | 8.262 | 8.262 | 8.262 | 8.262 | 8.262 | 0.5508 | 1.1016 | 1.6524 | 1.6524 | 1.6524 | 1.6524 | 1.6524 | 1.6524 | 1.6524 | 1.6524
| BESS Small Commercial | Commercial |  | 35 | 70 | 105 | 5.67 | 11.34 | 17.01 | 17.01 | 17.01 | 17.01 | 17.01 | 17.01 | 17.01 | 17.01 | 1.134 | 2.268 | 3.402 | 3.402 | 3.402 | 3.402 | 3.402 | 3.402 | 3.402 | 3.402
| Existing Customers | Commercial | 11 | 11 | 11 | 11 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.14 | 0.14 | 0.14 | 0.14 | 0.14 | 0.14 | 0.14 | 0.14 | 0.14 | 0.14
| Existing Customers | Residential | 134 | 134 | 134 | 134 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.14 | 0.14 | 0.14 | 0.14 | 0.14 | 0.14 | 0.14 | 0.14 | 0.14 | 0.14
| TOTAL | Residential | 0 | 507 | 880 | 1253 | 5.7355 | 10.771 | 15.8065 | 15.8065 | 15.8065 | 15.8065 | 15.8065 | 15.8065 | 15.8065 | 15.8065 | 1.1471 | 2.1542 | 3.1613 | 3.1613 | 3.1613 | 3.1613 | 3.1613 | 3.1613 | 3.1613 | 3.1613
| TOTAL | Commercial | 0 | 46 | 81 | 116 | 6.37 | 12.04 | 17.71 | 17.71 | 17.71 | 17.71 | 17.71 | 17.71 | 17.71 | 17.71 | 1.274 | 2.408 | 3.542 | 3.542 | 3.542 | 3.542 | 3.542 | 3.542 | 3.542 | 3.542
| TOTAL (All customer classes) |  | 0 | 553 | 961 | 1369 | 12.1055 | 22.811 | 33.5165 | 33.5165 | 33.5165 | 33.5165 | 33.5165 | 33.5165 | 33.5165 | 33.5165 | 2.4211 | 4.5622 | 6.7033 | 6.7033 | 6.7033 | 6.7033 | 6.7033 | 6.7033 | 6.7033 | 6.7033
Projected Costs | bar: Number of Customer Sites (Cumulative) Year 0 to Projected Installed MWh of Battery Capacity Enrolled (Cumulative) Year 10
|  |  |  | Annual Upfront Incentive Costs |  |  | Reccuring Energy Smart Incentives
| Program | Eligible Customers |  | Year 1 | Year 2 | Year 3 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10
| BESS Residential (LMI) | Residential (LMI) |  | 1095120 | 1095120 | 1095120 | 101400 | 202800 | 304200 | 304200 | 304200 | 304200 | 304200 | 304200 | 304200 | 304200
| BESS Residential | Residential |  | 1101600 | 1101600 | 1101600 | 122400 | 244800 | 367200 | 367200 | 367200 | 367200 | 367200 | 367200 | 367200 | 367200
| BESS Commercial | Commercial |  | 2268000 | 2268000 | 2268000 | 63000 | 126000 | 189000 | 189000 | 189000 | 189000 | 189000 | 189000 | 189000 | 189000
| Existing Customers | Residential + Commercial |  | - | - | - | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000
| TOTAL | Residential |  | 2196720 | 2196720 | 2196720 | 223800 | 447600 | 671400 | 671400 | 671400 | 671400 | 671400 | 671400 | 671400 | 671400
| TOTAL | Commercial |  | 2268000 | 2268000 | 2268000 | 63000 | 126000 | 189000 | 189000 | 189000 | 189000 | 189000 | 189000 | 189000 | 189000
| TOTAL | Existing Customers |  | - | - | - | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000
| TOTAL (All customer classes) |  |  | 4464720 | 4464720 | 4464720 | 386800 | 673600 | 960400 | 960400 | 960400 | 960400 | 960400 | 960400 | 960400 | 960400
Program Customer Incentives
Customer Incentives
| Program | Eligible Customers | Upfront Incentive | Annual Upfront Incentive Costs Year 1: Upfront Incentive Unit; Annual Upfront Incentive Costs Year 3: Ongoing Incentive Cap; Reccuring Energy Smart Incentives Year 1: Ongoing Incentives; Reccuring Energy Smart Incentives Year 2: Average installed kWh; Reccuring Energy Smart Incentives Year 3: Unit; Reccuring Energy Smart Incentives Year 4: Average # of Batteries per Site; Reccuring Energy Smart Incentives Year 5: Total # of Batteries
| BESS Residential (LMI) | Residential (LMI) | 480 | Annual Upfront Incentive Costs Year 1: Per kWh (capped at 13.5 kWh); Annual Upfront Incentive Costs Year 3: 600; Reccuring Energy Smart Incentives Year 1: $125 Per kW (capped at $600 per year); Reccuring Energy Smart Incentives Year 2: 13.5; Reccuring Energy Smart Incentives Year 3: Installed kWh per Site; Reccuring Energy Smart Incentives Year 4: 1; Reccuring Energy Smart Incentives Year 5: 507
| BESS Residential | Residential | 400 | Annual Upfront Incentive Costs Year 1: Per kWh (capped at 13.5 kWh); Annual Upfront Incentive Costs Year 3: 600; Reccuring Energy Smart Incentives Year 1: $125 Per kW (capped at $600 per year); Reccuring Energy Smart Incentives Year 2: 13.5; Reccuring Energy Smart Incentives Year 3: Installed kWh per Site; Reccuring Energy Smart Incentives Year 4: 1; Reccuring Energy Smart Incentives Year 5: 612
| BESS Small Commercial | Commercial | 400 | Annual Upfront Incentive Costs Year 1: Per kWh (capped at 13.5 kWh); Annual Upfront Incentive Costs Year 3: 1800; Reccuring Energy Smart Incentives Year 1: $125 Per kW (capped at $1800 per year); Reccuring Energy Smart Incentives Year 2: 162; Reccuring Energy Smart Incentives Year 3: Installed kWh per Site; Reccuring Energy Smart Incentives Year 4: 12; Reccuring Energy Smart Incentives Year 5: 1260
| Existing Customers | Commercial | N/A | Annual Upfront Incentive Costs Year 1: N/A; Annual Upfront Incentive Costs Year 3: $100,000 split between Residential and Commercial; Reccuring Energy Smart Incentives Year 2: 162; Reccuring Energy Smart Incentives Year 3: Installed kWh per Site; Reccuring Energy Smart Incentives Year 4: 12; Reccuring Energy Smart Incentives Year 5: 132
| Existing Customers | Residential | N/A | Annual Upfront Incentive Costs Year 1: N/A; Annual Upfront Incentive Costs Year 3: $100,000 split between Residential and Commercial; Reccuring Energy Smart Incentives Year 2: 13.5; Reccuring Energy Smart Incentives Year 3: Installed kWh per Site; Reccuring Energy Smart Incentives Year 4: 1; Reccuring Energy Smart Incentives Year 5: 134
MISO Inputs
Miso Planning Reserve Margin (UCAP)
| Season |  | Source: MISO Final obligations for LSEs using RBDC Opt Out provisions for PY 2026 -2027 (Slide 3)
| Summer | 7.9%
| Fall | 11.6%
| Winter | 18.9%
| Spring | 23.4%
| Average | 15.45%
| Transmission line loss rate |  | Source: MISO PY 2026-2027 EES Transmission Losses
Season
| Summer | 1.4%
| Fall | 1.6%
| Winter | 1.8%
| Spring | 1.5%
| Average | 1.58%
| Distribution Line Losses | 4.19% | Source: Energy Smart 2024 Annual Report
| Annual kWh per kW Enrolled | 60 | Based on assumption that up to 30 events per year at 2 hours per event may be called
Financial Inputs
| Benchmark Return on Ratebase (WACC - After Tax) | 7.35% | Source: ENO FRP TY 25
Energy charges for eligible rate schedules:
|  | All kWh | FRP Adjustment (as of May 2026)
| RES-25 | 0.07956 | 26.82%
Note on K31: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assuming 13.5 kWh Tesla Powerwall
Note on C64: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The base energy charge rate shown below is the rate for the first block of energy (where applicable).

## TNO Input Assumptions
Proposed Battery Installations and Capacity
|  |  | Number of Customer Sites (Cumulative) |  |  | Projected Installed MWh of Battery Capacity Enrolled (Cumulative) | [9 empty] | Projected MW-years Accredited/Registered with MISO (based on demand reduction capability without ZRC gross-ups)
| Program | Eligible Customers | Year 1 | Year 2 | Year 3 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10
| BESS Residential (LMI) | Residential (LMI) | 153 | 306 | 459 | 2.2797 | 4.5594 | 6.8391 | 6.8391 | 6.8391 | 6.8391 | 6.8391 | 6.8391 | 6.8391 | 6.8391 | 0.45594 | 0.91188 | 1.3678 | 1.3678 | 1.3678 | 1.3678 | 1.3678 | 1.3678 | 1.3678 | 1.3678
| BESS Residential | Residential | 328 | 656 | 984 | 5.3136 | 10.6272 | 15.9408 | 15.9408 | 15.9408 | 15.9408 | 15.9408 | 15.9408 | 15.9408 | 15.9408 | 1.0627 | 2.1254 | 3.1882 | 3.1882 | 3.1882 | 3.1882 | 3.1882 | 3.1882 | 3.1882 | 3.1882
| BESS Commercial - Resilience | Commercial | 39.6667 | 79.3333 | 119 | 2.2769 | 4.5537 | 6.8306 | 6.8306 | 6.8306 | 6.8306 | 6.8306 | 6.8306 | 6.8306 | 6.8306 | 0.45537 | 0.91075 | 1.3661 | 1.3661 | 1.3661 | 1.3661 | 1.3661 | 1.3661 | 1.3661 | 1.3661
| BESS Commercial - Regular | Commercial | 92.3333 | 184.6667 | 277 | 5.2999 | 10.5999 | 15.8998 | 15.8998 | 15.8998 | 15.8998 | 15.8998 | 15.8998 | 15.8998 | 15.8998 | 1.06 | 2.12 | 3.18 | 3.18 | 3.18 | 3.18 | 3.18 | 3.18 | 3.18 | 3.18
| TOTAL | Residential | 481 | 962 | 1443 | 7.5933 | 15.1866 | 22.7799 | 22.7799 | 22.7799 | 22.7799 | 22.7799 | 22.7799 | 22.7799 | 22.7799 | 1.5187 | 3.0373 | 4.556 | 4.556 | 4.556 | 4.556 | 4.556 | 4.556 | 4.556 | 4.556
| TOTAL | Commercial | 132 | 264 | 396 | 7.5768 | 15.1536 | 22.7304 | 22.7304 | 22.7304 | 22.7304 | 22.7304 | 22.7304 | 22.7304 | 22.7304 | 1.5154 | 3.0307 | 4.5461 | 4.5461 | 4.5461 | 4.5461 | 4.5461 | 4.5461 | 4.5461 | 4.5461
| TOTAL (All customer classes) |  | 613 | 1226 | 1839 | 15.1701 | 30.3402 | 45.5103 | 45.5103 | 45.5103 | 45.5103 | 45.5103 | 45.5103 | 45.5103 | 45.5103 | 3.034 | 6.068 | 9.1021 | 9.1021 | 9.1021 | 9.1021 | 9.1021 | 9.1021 | 9.1021 | 9.1021
Projected Costs | bar: Number of Customer Sites (Cumulative) Year 1 to Projected MW-years Accredited/Registered with MISO (based on demand reduction capability without ZRC gross-ups) Year 1
|  |  | Annual Upfront Incentive Costs |  |  | Reccuring Energy Smart Incentives
| Program | Eligible Customers | Year 1 | Year 2 | Year 3 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10
| BESS Residential (LMI) | Residential (LMI) | 1873913.4 | 1873913.4 | 1873913.4 | 183600 | 367200 | 550800 | 550800 | 550800 | 550800 | 550800 | 550800 | 550800 | 550800
| BESS Residential | Residential | 2800267.2 | 2800267.2 | 2800267.2 | 393600 | 787200 | 1180800 | 1180800 | 1180800 | 1180800 | 1180800 | 1180800 | 1180800 | 1180800
| BESS Commercial - Resilience | Commercial | 1871584.4 | 1871584.4 | 1871584.4 | 284806.6667 | 569613.3333 | 854420 | 854420 | 854420 | 854420 | 854420 | 854420 | 854420 | 854420
| BESS Commercial - Regular | Commercial | 2793064.8667 | 2793064.8667 | 2793064.8667 | 662953.3333 | 1325906.6667 | 1988860 | 1988860 | 1988860 | 1988860 | 1988860 | 1988860 | 1988860 | 1988860
| TOTAL | Residential | 4674180.6 | 4674180.6 | 4674180.6 | 577200 | 1154400 | 1731600 | 1731600 | 1731600 | 1731600 | 1731600 | 1731600 | 1731600 | 1731600
| TOTAL | Commercial | 4664649.2667 | 4664649.2667 | 4664649.2667 | 947760 | 1895520 | 2843280 | 2843280 | 2843280 | 2843280 | 2843280 | 2843280 | 2843280 | 2843280
| TOTAL (All customer classes) |  | 9338829.8667 | 9338829.8667 | 9338829.8667 | 1524960 | 3049920 | 4574880 | 4574880 | 4574880 | 4574880 | 4574880 | 4574880 | 4574880 | 4574880
Program Customer Incentives
Customer Incentives
| Program | Eligible Customers | Upfront Incentive | Upfront Incentive Unit |  | Ongoing Incentive | Ongoing Incentives | Average installed kWh | Unit | Average Deliverable Capacity | Unit | Average # of Batteries per Site | Total # of Batteries
| BESS Residential (LMI) | Residential (LMI) | 822 | Per kWh |  | 1200 | $250 Per kW (capped at $1200 per year) | 14.9 | Installed kWh per Site | 7.43 | kW per site | 1.1037 | 506.6
| BESS Residential | Residential | 527 | Per kWh |  | 1200 | $250 Per kW (capped at $1200 per year) | 16.2 | Installed kWh per Site | 8.1 | kW per site | 1.2 | 1180.8
| BESS Commercial - Resilience | Commercial | 822 | Per kWh |  | 7180 | $250 Per kW (no cap) | 57.4 | Installed kWh per Site | 28.72 | kW per site | 4.2519 | 505.9704
| BESS Commercial - Regular | Commercial | 527 | Per kWh |  | 7180 | $250 Per kW (no cap) | 57.4 | Installed kWh per Site | 28.72 | kW per site | 4.2519 | 1177.763
MISO Inputs
Miso Planning Reserve Margin (UCAP)
| Season |  | Annual Upfront Incentive Costs Year 1: Source: MISO Final obligations for LSEs using RBDC Opt Out provisions for PY 2026 -2027 (Slide 3)
| Summer | 7.9%
| Fall | 11.6%
| Winter | 18.9%
| Spring | 23.4%
| Average | 15.45%
| Transmission line loss rate |  | Annual Upfront Incentive Costs Year 1: Source: MISO PY 2026-2027 EES Transmission Losses
Season
| Summer | 1.4%
| Fall | 1.6%
| Winter | 1.8%
| Spring | 1.5%
| Average | 1.58%
| Distribution Line Losses | 4.19% | Annual Upfront Incentive Costs Year 1: Source: Energy Smart 2024 Annual Report
| Annual kWh per kW Enrolled | 60 | Annual Upfront Incentive Costs Year 1: Based on assumption that up to 30 events per year at 2 hours per event may be called
Financial Inputs
| Benchmark Return on Ratebase (WACC - After Tax) | 7.35% | Annual Upfront Incentive Costs Year 1: Source: ENO FRP TY 25
Energy charges for eligible rate schedules:
|  | All kWh | Annual Upfront Incentive Costs Year 1: FRP Adjustment (as of May 2026)
| RES-25 | 0.07956 | Annual Upfront Incentive Costs Year 1: 26.82%
Note on C61: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The base energy charge rate shown below is the rate for the first block of energy (where applicable).